## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 131-2021 1st Ed
ANSI/ASB 131-2021 First Edition
Standard for Training in Forensic DNA Sequencing using Capillary Electrophoresis
Discipline: | Biology/DNA
Checklist version: | V1.2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
General | 4.1 | Requirement | ANSI/ASB Standard 022, Standard for Forensic DNA Analysis Training Programs provides foundational training requirements for DNA analysts. It shall be used with this document, which outlines further specific requirements.
Knowledge-based Training | 4.2 | Section Title
Knowledge-based Training | 4.2.1 | Requirement | The laboratory’s training program shall provide the trainee with an understanding of the fundamental principles behind CE sequencing, the function of the sequencing reagents and CE components, the limitations of sequencing and CE, and the laboratory’s own DNA sequencing and CE protocols.
Knowledge-based Training | 4.2.2 | Requirement | At a minimum, the knowledge-based portion of the training program shall require review of the following: a) the laboratory’s protocols for DNA sequencing using CE; b) the laboratory’s applicable validation studies; c) literature used to support validation and the test methods in the laboratory; d) applicable literature as assigned by the trainer.
Knowledge-based Training | 4.2.3 | Requirement | At a minimum, the knowledge-based portion of the training program shall cover the following topics: NOTE Not all laboratories will be using each of these methods; however knowledge of them is necessary from a foundational perspective. a) Principles and limitations of sequencing methods and platforms: 1) sequencing methods; i) chain termination sequencing (Sanger sequencing); ii) pyrosequencing; iii) massively parallel sequencing; 2) reaction components; 3) primer selection. b) Quality controls used for DNA sequencing. c) Evaluation of sequencing results for controls and samples. d) CE instrumentation: 1) instrument-specific software; 2) instrument maintenance and calibration; 3) instrument reagents/components: i) capillary length; ii) polymer type; iii) electrophoresis conditions. e) Troubleshooting: 1) sequencing failure; 2) instrument failure. f) Contamination: 1) sources (environmental, procedural); 2) sample handling strategies and preventative methods; 3) decontamination procedures; 4) detection limitations; 5) root cause analysis, corrective action when contamination occurs. g) Contamination prevention: 1) use of personal protective equipment; 2) decontamination of work surfaces, consumables, and instrumentation [e.g., sodium hypochlorite (bleach), UV light, surfactants]; 3) workflow set-up.
Knowledge-based Training | 4.2.3 cont'd 1 | Requirement cont'd | f) Contamination: 1) sources (environmental, procedural); 2) sample handling strategies and preventative methods; 3) decontamination procedures; 4) detection limitations; 5) root cause analysis, corrective action when contamination occurs. g) Contamination prevention: 1) use of personal protective equipment; 2) decontamination of work surfaces, consumables, and instrumentation [e.g., sodium hypochlorite (bleach), UV light, surfactants]; 3) workflow set-up.
Practical Training | 4.3 | Section Title
Practical Training | 4.3.1 | Requirement | The laboratory’s training program shall provide the trainee with sufficient practical instruction for the trainee to obtain the skills for performing DNA sequencing using CE protocols used by the laboratory.
Practical Training | 4.3.2 | Requirement | At a minimum, the practical portion of the training program shall include the observation of the process at least once or until clearly understood, and exercises representative of the range, type, and complexity of routine casework or database samples processed by the laboratory. These include: a) DNA sequencing using CE methods to be utilized by the trainee; b) the use of appropriate controls; c) proper documentation of the process.
Practical Training | 4.3.3 | Requirement | At a minimum, the practical portion of the training program shall include exercises representative of the range, type, and complexity of routine casework or database samples processed by the laboratory. These include: a) DNA sequencing using CE methods to be utilized by the trainee; b) use and evaluation of controls and expected results; c) proper documentation of the process. d) the number and quality of samples processed by the trainee shall be appropriate to demonstrate the ability to follow the laboratory’s DNA sequencing using CE protocol(s) and to produce reliable and accurate results.
Competency Testing | 4.4 | Section Title
General | 4.4.1 | Requirement | The laboratory’s training program shall include knowledge-based and practical competency testing in the application of DNA sequencing using CE methods used by the laboratory. The format of the test(s) shall meet Section 4.3 of the ANSI/ASB Standard 022, Standard for Forensic DNA Analysis Programs.
Knowledge-based Competency | 4.4.2 | Requirement | The trainee shall successfully complete a knowledge-based test covering the critical information obtained during the training on DNA sequencing using CE methods. The test(s) shall cover, at a minimum, the following. a) The theoretical and scientific basis of DNA sequencing using CE methods. b) The function of the reagents, instruments, software, and other components used for DNA sequencing using CE methods. c) The required quality control steps pertaining to DNA sequencing using CE methods, including the evaluation of controls. d) The laboratory’s analytical procedures pertaining to DNA sequencing using CE methods.
Practical Competency | 4.4.3 | Requirement | The trainee shall successfully complete a practical test covering DNA sequencing using CE protocol(s) for which he or she shall be independently authorized to perform. Samples of known type shall be used. The trainee shall be able to satisfactorily perform the following, as applicable. a) Properly and accurately execute the analytical procedures related to DNA sequencing using CE methods without contaminating samples. b) Apply the laboratory’s analytical procedures to a variety of evidentiary casework or database type samples representing the quality and quantity expected to be encountered in the laboratory. c) Operate relevant equipment, instrumentation, and software used in the laboratory. d) Correctly document work performed in accordance with laboratory procedures.
Conformance | 5 | Requirement | In order to demonstrate conformance with this standard, the laboratory shall meet Section 5 of the ANSI/ASB Standard 022, Standard for Forensic DNA Analysis Training Programs.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics