## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E3234-20
ANSI/ASTM E3234-20
Standard Practice for Forensic Paint Analysis Training Program
Discipline | Trace Evidence
Checklist version | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Responsibilities | 4 | Section Title
Responsibilities | 4.1 | Informational Text | Each trainee is trained by and works under the guidance of, one or more qualified forensic paint examiners.
Responsibilities | 4.1.1 | Requirement | The trainee shall meet or exceed the minimum training criteria set forth in Practice E2917 and the objectives set forth in the training program.
Responsibilities | 4.2 | Requirement | A trainer shall be technically qualified in forensic paint examination and comparison or associated techniques. Other members of the laboratory are encouraged to offer relevant information regarding their specialty to the trainee. The trainer(s) is responsible for:
Responsibilities | 4.2.1 | Requirement | Introducing the trainee to the relevant scientific literature, appropriate procedures, training material, and reference collections.
Responsibilities | 4.2.2 | Requirement | Discussing readings and theory with the trainee.
Responsibilities | 4.2.3 | Requirement | Teaching basic microscopy and instrumental methods for the analysis and comparison of paint evidence.
Responsibilities | 4.2.4 | Requirement | Teaching case management.
Responsibilities | 4.2.5 | Requirement | Fostering ethical professional conduct.
Responsibilities | 4.2.6 | Requirement | Reviewing ways in which bias can influence paint examinations.
Responsibilities | 4.2.7 | Requirement | Teaching appropriate quality assurance and quality control procedures.
Responsibilities | 4.2.8 | Requirement | Reviewing tests, practical exercises, and casework samples with the trainee.
Responsibilities | 4.2.9 | Requirement | Teaching expert testimony skills through moot court or observation, or both.
Responsibilities | 4.2.10 | Requirement | Monitoring the trainee’s progress
Responsibilities | 4.3 | Requirement | Each laboratory is required to maintain:
Responsibilities | 4.3.1 | Requirement | An up-to-date training program which is reviewed and assessed for efficacy and relevance as described in Practice E2917.
Responsibilities | 4.3.2 | Requirement | Documentation of training according to Practice E2917.
Responsibilities | 4.3.3 | Requirement | Documentation of competency tests and proficiency tests.
Syllabus | 5 | Section Title
Syllabus | 5.1 | Informational Text | A paint analysis training program provides the trainee theoretical knowledge and practical skills in examining, interpreting, reporting, testifying, and reviewing forensic paint cases. This is accomplished through a combination of the following training methods:
Reading of Relevant Literature | 5.1.1 | Section Title
Reading of Relevant Literature | 5.1.1.1 | Informational Text | The reading assignments listed are suggestions. Newer versions can be used. Other relevant literature can be used or substituted.
Instruction and Observation of Forensic Paint Examiners | 5.1.2 | Section Title
Instruction and Observation of Forensic Paint Examiners | 5.1.2.1 | Informational Text | Lectures and discussions,
Instruction and Observation of Forensic Paint Examiners | 5.1.2.2 | Informational Text | Practical demonstration of basic skills,
Instruction and Observation of Forensic Paint Examiners | 5.1.2.3 | Informational Text | Casework, and
Instruction and Observation of Forensic Paint Examiners | 5.1.2.4 | Informational Text | Court testimony.
Practical Skills | 5.1.3 | Section Title
Practical Skills | 5.1.3.1 | Informational Text | Practical exercises which includes analysis of reference materials and known samples.
Final Competency Evaluations | 5.1.4 | Section Title
Instruction and Observation of Forensic Paint Examiners | 5.1.4.1 | Informational Text | Written or oral tests,
Instruction and Observation of Forensic Paint Examiners | 5.1.4.2 | Informational Text | Practical laboratory tests,
Instruction and Observation of Forensic Paint Examiners | 5.1.4.3 | Informational Text | Mock cases, and
Instruction and Observation of Forensic Paint Examiners | 5.1.4.4 | Informational Text | Moot court or oral exam.
Performing Supervised Casework. | 5.1.5 | Section Title
Syllabus | 5.2 | Recommendation | The recommended training period is between three to six months, full time, for a forensic examiner that has been previously trained and is competent in the analytical techniques utilized in the analysis of paint evidence. For new examiners with no previous training in microscopical or instrumental techniques, the expected training period is between twelve to eighteen months.
Syllabus | 5.3 | Informational Text | Successful completion of each milestone in the training program will be recorded using the guidance set forth in Practice E2917.
Paint Analysis Training Program Objectives | 6 | Section Title
Encountering Paint Evidence | 6.1 | Section Title
Encountering Paint Evidence | 6.1.1 | Informational Text | This section introduces the trainee to the types of cases and the various conditions in which paints are encountered as physical evidence.
Encountering Paint Evidence | 6.1.2 | Informational Text | Types of paints which could be encountered as evidence include automotive paint, other vehicle paint (for example, motorcycle, aircraft, marine, trains, bicycle.), architectural paint, maintenance paint, spray paint, and other specialty paints.
Encountering Paint Evidence | 6.1.3 | Recommendation | Reading Assignments:
Encountering Paint Evidence | 6.1.3.1 | Recommendation | Ryland, “Infrared Microspectroscopy of Forensic Paint Evidence,” pp. 163–170 and pp. 185–191.
Encountering Paint Evidence | 6.1.4 | Section Title | Practical Exercises:
Encountering Paint Evidence | 6.1.4.1 | Requirement | Demonstrate knowledge of the types of cases and the various conditions in which paints are encountered as physical evidence through an oral or written exercise.
Encountering Paint Evidence | 6.1.5 | Informational Text | The methods of instruction for this unit are reading and research by the trainee and discussions with the trainer(s).
Encountering Paint Evidence | 6.1.6 | Informational Text | The method of evaluation for this unit is a review of the trainee’s completed exercise by the trainer.
Paint Terminology | 6.2 | Section Title
Paint Terminology | 6.2.1 | Informational Text | This section introduces the trainee to the following terms:
Paint Terminology | 6.2.1.1 | Informational Text | Additives,
Paint Terminology | 6.2.1.2 | Informational Text | Binder (resin),
Paint Terminology | 6.2.1.3 | Informational Text | Coating,
Paint Terminology | 6.2.1.4 | Informational Text | Cross-linker,
Paint Terminology | 6.2.1.5 | Informational Text | Drier,
Paint Terminology | 6.2.1.6 | Informational Text | Drying oils,
Paint Terminology | 6.2.1.7 | Informational Text | Enamel,
Paint Terminology | 6.2.1.8 | Informational Text | Extender,
Paint Terminology | 6.2.1.9 | Informational Text | Lacquer,
Paint Terminology | 6.2.1.10 | Informational Text | Latex,
Paint Terminology | 6.2.1.11 | Informational Text | Paint,
Paint Terminology | 6.2.1.12 | Informational Text | Pigment,
Paint Terminology | 6.2.1.13 | Informational Text | Plasticizer,
Paint Terminology | 6.2.1.14 | Informational Text | Solvent,
Paint Terminology | 6.2.1.15 | Informational Text | Stain,
Paint Terminology | 6.2.1.16 | Informational Text | Thermoplastic polymer,
Paint Terminology | 6.2.1.17 | Informational Text | Thermosetting polymer,
Paint Terminology | 6.2.1.18 | Informational Text | Varnish, and
Paint Terminology | 6.2.1.19 | Informational Text | Vehicle.
Paint Terminology | 6.2.2 | Recommendation | Reading Assignments:
Paint Terminology | 6.2.2.1 | Recommendation | Lambourne, “Paint Composition and Applications – A General Introduction”.
Paint Terminology | 6.2.2.2 | Recommendation | Koleske, ed., Paint and Coating Testing Manual.
Paint Terminology | 6.2.3 | Section Title | Practical Exercises:
Paint Terminology | 6.2.3.1 | Requirement | Define the terms listed in this section.
Paint Terminology | 6.2.4 | Informational Text | The methods of instruction for this unit are reading and research by the trainee.
Paint Terminology | 6.2.5 | Informational Text | The method of evaluation for this unit is an oral or written quiz.
The Use and Composition of Paint | 6.3 | Section Title
The Use and Composition of Paint | 6.3.1 | Informational Text | This section introduces the trainee to the uses and compositions of different types of paints to include the following:
The Use and Composition of Paint | 6.3.1.1 | Informational Text | The significance of oils, driers, solvents, plasticizers, resinous vehicles, extenders, and pigments in the formation of paint films, examples of materials used in each of these components, and the differences between a liquid paint and a dried paint film in terms of each of these components.
The Use and Composition of Paint | 6.3.1.2 | Informational Text | The manner in which latex, thermoplastic and thermosetting paint films are formed.
The Use and Composition of Paint | 6.3.1.3 | Informational Text | The impact of the film formation mechanism on a forensic paint examination.
The Use and Composition of Paint | 6.3.1.4 | Informational Text | Various types of paint to end-use applications.
The Use and Composition of Paint | 6.3.1.5 | Informational Text | Additives used in latex paints.
The Use and Composition of Paint | 6.3.2 | Recommendation | Reading Assignment:
The Use and Composition of Paint | 6.3.2.1 | Recommendation | Morgans, Outlines of Paint Technology.
The Use and Composition of Paint | 6.3.3 | Section Title | Practical Exercise:
The Use and Composition of Paint | 6.3.3.1 | Requirement | Explain the uses and differences of the paint components listed in this section.
The Use and Composition of Paint | 6.3.4 | Informational Text | The methods of instruction for this unit are reading and research by the trainee.
The Use and Composition of Paint | 6.3.5 | Informational Text | The method of evaluation for this unit is an oral or written quiz.
Manufacturing Processes | 6.4 | Section Title
Manufacturing Processes | 6.4.1 | Informational Text | This section introduces the trainee to paint manufacturing and application processes to include the following:
Manufacturing Processes | 6.4.1.1 | Informational Text | How raw materials are acquired and mixed.
Manufacturing Processes | 6.4.1.2 | Informational Text | What variations could be present in raw materials.
Manufacturing Processes | 6.4.1.3 | Informational Text | What variations could exist in binders from different companies.
Manufacturing Processes | 6.4.1.4 | Informational Text | What a batch of paint is and typically how large it is.
Manufacturing Processes | 6.4.1.5 | Informational Text | What quality control procedures are used in the manufacture of paint.
Manufacturing Processes | 6.4.1.6 | Informational Text | How paint is packaged and distributed.
Manufacturing Processes | 6.4.1.7 | Informational Text | Application processes for non-motor vehicle paints (for example, brush, spray, powder coating, coil-coating).
Manufacturing Processes | 6.4.1.8 | Informational Text | The application process of original equipment manufacturer (OEM) finishes to motor vehicles.
Manufacturing Processes | 6.4.1.9 | Informational Text | Processes used in repainting and repairing vehicles.
Manufacturing Processes | 6.4.1.10 | Informational Text | The purposes of each motor vehicle finish layer.
Manufacturing Processes | 6.4.1.11 | Informational Text | Differences between OEM and repainted motor vehicle finishes.
Manufacturing Processes | 6.4.1.12 | Informational Text | Analytical and physical testing methods used by the paint industry.
Manufacturing Processes | 6.4.2 | Recommendation | Reading Assignments:
Manufacturing Processes | 6.4.2.1 | Recommendation | Bentley, “Composition, Manufacture and Use of Paint”.
Manufacturing Processes | 6.4.2.2 | Recommendation | Farkas, “The Industrial Paint-Making Process”.
Manufacturing Processes | 6.4.2.3 | Recommendation | Ryer, “Alkyd Chemistry and New Technology Trends in Coatings Resin Synthesis”.
Manufacturing Processes | 6.4.2.4 | Recommendation | Ryntz, “Automotive Coatings: Current Trends for Coating Plastic – Part 1”.
Manufacturing Processes | 6.4.2.5 | Recommendation | Wright and Mehltretter, “The Prevalence of Original Equipment Manufacturer (OEM) Factory Repairs in Automotive Paint Samples”.
Manufacturing Processes | 6.4.3 | Section Title | Practical Exercises:
Manufacturing Processes | 6.4.3.1 | Requirement | Explain the manufacturing and application processes of paint.
Manufacturing Processes | 6.4.3.2 | Requirement | Visit paint manufacturing facilities when practical.
Manufacturing Processes | 6.4.4 | Informational Text | The method of instruction for this unit is reading by the trainee.
Manufacturing Processes | 6.4.5 | Informational Text | The method of evaluation for this unit is an oral or written quiz.
Overview of Forensic Paint Examinations | 6.5 | Section Title
Overview of Forensic Paint Examinations | 6.5.1 | Informational Text | This section introduces the trainee to the basic steps in forensic paint examinations and how these steps are used to identify the components of a paint film.
Overview of Forensic Paint Examinations | 6.5.2 | Recommendation | Reading Assignments:
Overview of Forensic Paint Examinations | 6.5.2.1 | Recommendation | Laboratory specific paint analysis procedure(s)
Overview of Forensic Paint Examinations | 6.5.2.2 | Recommendation | Scientific Working Group for Materials Analysis (SWGMAT), “Trace Evidence Recovery Guidelines”.
Overview of Forensic Paint Examinations | 6.5.2.3 | Recommendation | Guide E1610.
Overview of Forensic Paint Examinations | 6.5.2.4 | Recommendation | Ryland, “Infrared Microscopy of Forensic Paint Evidence”.
Overview of Forensic Paint Examinations | 6.5.2.5 | Recommendation | Ryland, et al., “Current Trends in Forensic Paint Examination”.
Overview of Forensic Paint Examinations | 6.5.2.6 | Recommendation | Stoecklein, “Forensic Analysis of Automotive Paints at the Bundeskriminalamt: The Evidential Value of Automotive Paints”.
Overview of Forensic Paint Examinations | 6.5.3 | Section Title | Practical Exercises—None.
Overview of Forensic Paint Examinations | 6.5.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Overview of Forensic Paint Examinations | 6.5.5 | Informational Text | The method of evaluation for this unit is an oral or written quiz.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6 | Section Title
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1 | Informational Text | This section introduces the trainee to methods for locating, collecting, and preserving all types of paint evidence. The trainee is exposed to evidence handling issues such as transfer, persistence, and loss of trace evidence. Topics include the following:
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1.1 | Informational Text | The recognition of paint fragments and paint smears.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1.2 | Informational Text | The use of visual examinations and low power magnification.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1.3 | Informational Text | The use of the particle picking and scraping methods to collect loose debris.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1.4 | Informational Text | Understanding the persistence, transfer, and loss of paint evidence.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.1.5 | Informational Text | Preservation techniques appropriate for various types of paint evidence.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2 | Recommendation | Reading Assignments:
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.1 | Recommendation | Guide E1459.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.2 | Recommendation | Practice E1492.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.3 | Recommendation | Guide E1610.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.4 | Recommendation | Palenik, “Microscopy and Microchemistry of Physical Evidence”.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.5 | Recommendation | Pearson, et al., “Glass and Paint Fragments Found in Men's Outer Clothing – Report of a Survey”.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.6 | Recommendation | SWGMAT, “Trace Evidence Recovery Guidelines”.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.2.7 | Recommendation | SWGMAT, “Trace Evidence Quality Assurance Guidelines”.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.3 | Section Title | Practical Exercises:
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.3.1 | Requirement | Perform collections from several paint samples to include paint fragments, paint smears and high impact transfers from a variety of materials utilizing the methods learned above.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.3.2 | Requirement | Demonstrate appropriate packaging techniques for debris collected and items of evidence.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and practical instruction from the trainer.
Search, Collection and Preservation Techniques for Paint Evidence | 6.6.5 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercises.
Recognition, Description and Categorization of Paint | 6.7 | Section Title
Recognition, Description and Categorization of Paint | 6.7.1 | Informational Text | This section introduces the trainee to the recognition, description, and categorization of paint by:
Recognition, Description and Categorization of Paint | 6.7.1.1 | Informational Text | Recognizing paint utilizing microscopical techniques including stereomicroscopy.
Recognition, Description and Categorization of Paint | 6.7.1.2 | Informational Text | Describing paint layers in terms of color, layer sequence, layer thickness, gloss, and texture.
Recognition, Description and Categorization of Paint | 6.7.1.3 | Informational Text | Recognizing after-market treatments, surface defects, weathering, aging, contaminants, damage, and intra/interlayer features.
Recognition, Description and Categorization of Paint | 6.7.1.4 | Informational Text | Categorizing paint as automotive, other vehicle (for example, motorcycle, aircraft, marine, trains, bicycle.), architectural, maintenance, spray, or other specialty types.
Recognition, Description and Categorization of Paint | 6.7.1.5 | Informational Text | Categorizing automotive OEM finishes and automotive repaints by their layer structures. This includes the recognition of spot putties, body fillers, color coordinated primers, monocoats, and tri-coat systems.
Recognition, Description and Categorization of Paint | 6.7.1.6 | Informational Text | Recognizing various types of pigments and extenders (for example, metal flake, pearlescent, interference, effect, hiding).
Recognition, Description and Categorization of Paint | 6.7.2 | Recommendation | Reading Assignments:
Recognition, Description and Categorization of Paint | 6.7.2.1 | Recommendation | Boudreau and Cortner, “Application of Differential Interference Contrast Microscopy to the Examination of Paints” .
Recognition, Description and Categorization of Paint | 6.7.2.2 | Recommendation | Govaert and Bernard, “Discriminating Red Spray Paints by Optical Microscopy, Fourier Transform Infrared Spectroscopy, and X-ray Fluorescence” .
Recognition, Description and Categorization of Paint | 6.7.2.3 | Recommendation | Hamer, “Pigment Analysis in the Forensic Examination of Paints III: A Guide to Motor Vehicle Paint Examination by Transmitted Light Microscopy”.
Recognition, Description and Categorization of Paint | 6.7.2.4 | Recommendation | Iden, “Teamwork Brings Innovative Effect Pigment to Light”.
Recognition, Description and Categorization of Paint | 6.7.2.5 | Recommendation | Kilbourn and Marx, “Polarized Light Microscopy of Extenders in Structural Paints – Forensic Applications”.
Recognition, Description and Categorization of Paint | 6.7.2.6 | Recommendation | Koleske, ed., Paint and Coating Testing Manual.
Recognition, Description and Categorization of Paint | 6.7.2.7 | Recommendation | McNorton, et al., “The Characterization of Automotive Body Fillers”.
Recognition, Description and Categorization of Paint | 6.7.2.8 | Recommendation | Novinski, et al., “Employing Pearlescent Pigments in High Performance Coatings”.
Recognition, Description and Categorization of Paint | 6.7.2.9 | Recommendation | Orzechowski, “An Optical Microscopy Method to Display Pigment Agglomerates in Polymer Particles”.
Recognition, Description and Categorization of Paint | 6.7.2.10 | Recommendation | Streitberger and Dossel, K., eds., Automotive Paints and Coatings.
Recognition, Description and Categorization of Paint | 6.7.2.11 | Recommendation | Walsh, et al., “New Zealand Body Fillers: Discrimination Using IR Spectroscopy, Visible Microspectrophotometry, Density and SEM-EDAX”.
Recognition, Description and Categorization of Paint | 6.7.3 | Section Title | Practical Exercise:
Recognition, Description and Categorization of Paint | 6.7.3.1 | Requirement | Describe and categorize a set of paint samples. Samples should consist of a variety of paint systems including automotive paint, other vehicle paint (for example, motorcycle, aircraft, marine, trains, bicycle.), architectural paint, maintenance paint, spray paint, and other specialty paints. Automotive systems with color coordinated primers, tri-coat systems and a variety of effect pigments should also be included.
Recognition, Description and Categorization of Paint | 6.7.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and practical instruction from the trainer.
Recognition, Description and Categorization of Paint | 6.7.5 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercise.
Color Assessments of Paint | 6.8 | Section Title
Color Assessments of Paint | 6.8.1 | Informational Text | This section introduces the trainee to the techniques used in the color assessments of paint including:
Color Assessments of Paint | 6.8.1.1 | Informational Text | Understanding the definition of color.
Color Assessments of Paint | 6.8.1.2 | Informational Text | Performing color comparisons using the unaided eye as well as the stereomicroscope and higher powered microscopes.
Color Assessments of Paint | 6.8.1.3 | Informational Text | Understanding metamerism and the usage of various light sources in the evaluation and comparison of color.
Color Assessments of Paint | 6.8.1.4 | Informational Text | Demonstrating knowledge of the various systems available to assess color, measure color and perform color comparisons of paint samples (for example, the Munsell System, L*a*b* color space, and the CIE System).
Color Assessments of Paint | 6.8.1.5 | Informational Text | Determining standard values for paint colors.
Color Assessments of Paint | 6.8.1.6 | Informational Text | Demonstrating familiarity with the use of various spectrophotometers used to measure color samples.
Color Assessments of Paint | 6.8.2 | Recommendation | Reading Assignments:
Color Assessments of Paint | 6.8.2.1 | Recommendation | Cartwright, et al., “The Classification of Automotive Paint Primers Using the Munsell Color Coordinate System – A Collaborative Study”.
Color Assessments of Paint | 6.8.2.2 | Recommendation | Droll, “Just What Color is That Car?”.
Color Assessments of Paint | 6.8.2.3 | Recommendation | The Munsell Book of Color Glossy Collection.
Color Assessments of Paint | 6.8.2.4 | Recommendation | The Munsell Book of Color Matte Collection.
Color Assessments of Paint | 6.8.2.5 | Recommendation | Thornton, “Visual Color Comparison in Forensic Science”.
Color Assessments of Paint | 6.8.3 | Section Title | Practical Exercise:
Color Assessments of Paint | 6.8.3.1 | Requirement | Demonstrate the ability to utilize available resources (for example, Munsell System, L*a*b* color space, CIE System) to determine standard color values for a given set of paint samples.
Color Assessments of Paint | 6.8.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Color Assessments of Paint | 6.8.5 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Sample Preparation Techniques | 6.9 | Section Title
Sample Preparation Techniques | 6.9.1 | Informational Text | This section introduces the trainee to the sample preparation techniques used in paint analysis including:
Sample Preparation Techniques | 6.9.1.1 | Informational Text | Performing manual manipulation of a paint fragment with a scalpel or other cutting tool to expose underlying layers.
Sample Preparation Techniques | 6.9.1.2 | Informational Text | Preparing samples of individual layers for transmitted and reflected light microscopical examinations.
Sample Preparation Techniques | 6.9.1.3 | Informational Text | Preparing thin cross-sections of several paint fragments.
Sample Preparation Techniques | 6.9.2 | Recommendation | Reading Assignments:
Sample Preparation Techniques | 6.9.2.1 | Recommendation | Allen, “Modifications of Sample Mounting Procedures and Microtome Equipment for Paint Sectioning”.
Sample Preparation Techniques | 6.9.2.2 | Recommendation | Derrick, “Infrared Microspectroscopy in the Analysis of Cultural Artifact”.
Sample Preparation Techniques | 6.9.2.3 | Recommendation | Laing, et al., “The Examination of Paint Films and Fibers as Thin Sections”.
Sample Preparation Techniques | 6.9.3 | Section Title | Practical Exercises:
Sample Preparation Techniques | 6.9.3.1 | Requirement | Expose layers of several paint fragments using various cutting techniques (for example, bevel (wedge), stair step, thin peels, and cross-sections.)
Sample Preparation Techniques | 6.9.3.2 | Requirement | Prepare microscope slides of individual layers from a paint sample.
Sample Preparation Techniques | 6.9.3.3 | Requirement | Prepare thin cross-sections of several samples provided by the trainer.
Sample Preparation Techniques | 6.9.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and practical instruction from the trainer.
Sample Preparation Techniques | 6.9.5 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercises.
Microscopical Examination and Comparison | 6.1 | Section Title
Microscopical Examination and Comparison | 6.10.1 | Informational Text | This section introduces the trainee to the microscopical examination and comparison of paint including:
Microscopical Examination and Comparison | 6.10.1.1 | Informational Text | Using stereomicroscopy and comparison microscopy to determine whether paint samples are distinguishable from one another.
Microscopical Examination and Comparison | 6.10.1.2 | Informational Text | Examining paint samples utilizing other microscopical techniques which may include polarized light and fluorescence microscopy.
Microscopical Examination and Comparison | 6.10.1.3 | Informational Text | Recognizing the microscopical characteristics of pigments, extenders, and additives.
Microscopical Examination and Comparison | 6.10.2 | Recommendation | Reading Assignments:
Microscopical Examination and Comparison | 6.10.2.1 | Recommendation | Delly, et al., Polarized Light Microscopy.
Microscopical Examination and Comparison | 6.10.2.2 | Recommendation | DeForest, “Foundations of Forensic Microscopy”.
Microscopical Examination and Comparison | 6.10.3 | Section Title | Practical Exercise:
Microscopical Examination and Comparison | 6.10.3.1 | Requirement | Examine and compare several samples provided by the trainer and determine whether any items within a set can be distinguished from the others.
Microscopical Examination and Comparison | 6.10.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and practical instruction from the trainer.
Microscopical Examination and Comparison | 6.10.5 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercise.
Microchemical Examinations | 6.11 | Section Title
Microchemical Examinations | 6.11.1 | Informational Text | This section introduces the trainee to classifying paint binders, pigments and extenders by use of microchemical examinations to include:
Microchemical Examinations | 6.11.1.1 | Informational Text | Using solvent tests to correctly classify an automotive paint layer in terms of enamel, acrylic lacquer, nitrocellulose lacquer, solution lacquer, or dispersion lacquer.
Microchemical Examinations | 6.11.1.2 | Informational Text | Using solvent tests to correctly classify automotive paints as OEM or repaint (if possible).
Microchemical Examinations | 6.11.1.3 | Informational Text | Using solvent tests to correctly classify non-automotive paints in terms of enamel or lacquer.
Microchemical Examinations | 6.11.1.4 | Informational Text | Using microchemical testing to classify pigments and extenders.
Microchemical Examinations | 6.11.2 | Recommendation | Reading Assignments:
Microchemical Examinations | 6.11.2.1 | Recommendation | Palenik, S., “Applying Chemical Microscopy to the Coatings Industry”.
Microchemical Examinations | 6.11.2.2 | Recommendation | Thornton, et al., “Solubility Characterization of Automotive Paints”.
Microchemical Examinations | 6.11.2.3 | Recommendation | Ryland, “Infrared Microscopy of Forensic Paint Evidence”.
Microchemical Examinations | 6.11.2.4 | Recommendation | Beattie, et al., “The Use of Morin Staining for the Microscopic Characterization of Multilayered White Paint Flakes”.
Microchemical Examinations | 6.11.2.5 | Recommendation | Linde and Stone, “Application of the LeRosen Test to Paint Analysis”.
Microchemical Examinations | 6.11.2.6 | Recommendation | Home, et al., “The Discrimination of Small Fragments of Household Gloss Paint Using Chemical Tests”.
Microchemical Examinations | 6.11.3 | Section Title | Practical Exercise:
Microchemical Examinations | 6.11.3.1 | Requirement | Classify several paint samples using microchemical tests.
Microchemical Examinations | 6.11.4 | Informational Text | The methods of instruction for this unit are reading by the trainee and practical instruction from the trainer.
Microchemical Examinations | 6.11.5 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercise.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12 | Section Title
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.1 | Informational Text | This section introduces the trainee to the classification and comparison of a variety of paint binders, pigments, extenders and additives based on their chemical composition using FTIR.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2 | Requirement | Include the following points of instruction:
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2.1 | Requirement | Understanding the theory of FTIR analysis (unless previously authorized to use the instrument).
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2.2 | Requirement | Preparing samples for analysis by FTIR.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2.3 | Requirement | Performing computer searches of spectral libraries, if available.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2.4 | Requirement | Using FTIR to classify and compare binders, pigments, and extenders found in automotive, architectural, and other types of paint.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.2.5 | Requirement | Understanding the strengths and limitations of the technique.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3 | Recommendation | Reading Assignments:
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3.1 | Recommendation | McEwen, and Cheever, “Infrared Microscopic Analysis of Multiple Layers of Automotive Paints”.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3.2 | Recommendation | Home, et al., “The Characterization of Automotive Body Fillers”.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3.3 | Recommendation | Norman, et al., “The Classification of Automotive Paint Primers Using Infrared Spectroscopy – A Collaborative Study,”.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3.4 | Recommendation | Ryland, “Infrared Microspectroscopy of Forensic Paint Evidence,” pp. 163–243.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.3.5 | Recommendation | Wilkinson, et al., “The Examination of Paints as Thin Sections Using Visible Microspectrophotometry and Fourier Transform Infrared Microscopy”.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.4 | Section Title | Practical Exercises:
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.4.1 | Requirement | Prepare and analyze several single layer and multiple layered structural and automotive paint samples having a variety of binder types, pigments, extenders and additives.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.4.2 | Requirement | Search several spectra against a spectral library.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.4.3 | Requirement | Perform binder, pigment, extender and additive classifications and comparisons for the spectra of several unknown samples.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lectures and demonstrations from the trainer.
Fourier Transform Infrared Spectroscopy (FTIR) | 6.12.6 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercises.
Raman Spectroscopy | 6.13 | Section Title
Raman Spectroscopy | 6.13.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paint components based on their chemical composition using Raman spectroscopy.
Raman Spectroscopy | 6.13.2 | Requirement | Include the following points of instruction:
Raman Spectroscopy | 6.13.2.1 | Requirement | Understanding the theory of Raman spectroscopy (unless previously authorized to use the instrument).
Raman Spectroscopy | 6.13.2.2 | Requirement | Preparing samples for analysis by Raman spectroscopy.
Raman Spectroscopy | 6.13.2.3 | Requirement | Performing computer searches of spectral libraries, if available.
Raman Spectroscopy | 6.13.2.4 | Requirement | Using Raman to classify and compare binders, pigments, and extenders found in automotive, architectural, and other types of paint.
Raman Spectroscopy | 6.13.2.5 | Requirement | Understanding the strengths and limitations of the technique.
Raman Spectroscopy | 6.13.3 | Recommendation | Reading Assignments:
Raman Spectroscopy | 6.13.3.1 | Recommendation | Bell, et al., “Forensic Analysis of Architectural Finishes Using Fourier Transform Infrared and Raman Spectroscopy, Part I: The Resin Bases”.
Raman Spectroscopy | 6.13.3.2 | Recommendation | Bell, et al., “Forensic Analysis of Architectural Finishes Using Fourier Transform Infrared and Raman Spectroscopy, Part II: White Paint”.
Raman Spectroscopy | 6.13.3.3 | Recommendation | Buzzini and Massonnet, “A Market Study of Green Spray Paints by Fourier Transform Infrared (FT-IR) and Raman Spectrometry”.
Raman Spectroscopy | 6.13.3.4 | Recommendation | Kuptsov, “Applications of Fourier Transform Raman Spectroscopy in Forensic Science”.
Raman Spectroscopy | 6.13.3.5 | Recommendation | Massonnet and Stoecklein, “Identification of Organic Pigments in Coatings: Applications to Red Automotive Topcoats. Part III: Raman Spectroscopy (NIR FT-Raman)”.
Raman Spectroscopy | 6.13.3.6 | Recommendation | Muehlethaler, et al., “Influence of the Shaking Time on the Forensic Analysis of FTIR and Raman Spectra of Spray Paints”.
Raman Spectroscopy | 6.13.3.7 | Recommendation | Palenik, et al., Fundamentals of Forensic Pigment Identification by Raman Microspectroscopy: A Practical Identification Guide and Spectral Library for Forensic Science Laboratories.
Raman Spectroscopy | 6.13.3.8 | Recommendation | Palenik, et al., Raman Spectroscopy of Automotive and Architectural Paints: In situ Pigment Identification and Evidentiary Significance.
Raman Spectroscopy | 6.13.4 | Section Title | Practical Exercises:
Raman Spectroscopy | 6.13.4.1 | Requirement | Prepare and analyze several single layer and multiple layered structural and automotive paint samples having a variety of binder types, pigments, extenders and additives.
Raman Spectroscopy | 6.13.4.2 | Requirement | Search several spectra against a spectral library.
Raman Spectroscopy | 6.13.4.3 | Requirement | Perform component classifications for the spectra of several unknown samples.
Raman Spectroscopy | 6.13.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lectures and demonstrations from the trainer.
Raman Spectroscopy | 6.13.6 | Informational Text | The method of evaluation for this unit is an evaluation of the practical exercises.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14 | Section Title
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paint binders based on their chemical composition using pyrolysis gas chromatography with flame ionization detection (PGC) or pyrolysis gas chromatography/mass spectrometry (PGC/MS).
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2 | Requirement | Include the following points of instruction:
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2.1 | Requirement | Understanding the theory of PGC or PGC/MS (unless previously authorized to use the instrument).
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2.2 | Requirement | Preparing samples for analysis by PGC or PGC/MS.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2.3 | Requirement | Performing computer searches of spectral libraries, if available.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2.4 | Requirement | Using PGC or PGC/MS to classify and compare binders and plasticizers found in automotive, architectural, and other types of paint.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.2.5 | Requirement | Understanding the strengths and limitations of the technique.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3 | Recommendation | Reading Assignments:
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.1 | Recommendation | Burke, et al., “A Comparison of Pyrolysis Mass Spectrometry, Pyrolysis Gas Chromatography and Infrared Spectroscopy for the Analysis of Paint Resins”.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.2 | Recommendation | Challinor, “Examination of Forensic Evidence”.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.3 | Recommendation | McMinn, et al., “Pyrolysis Capillary Gas Chromatography/Mass Spectrometry for Analysis of Automotive Paints”.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.4 | Recommendation | Stafford, “Forensic Capillary Gas Chromatography”.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.5 | Recommendation | Wampler, Applied Pyrolysis Handbook.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.3.6 | Recommendation | SWGMAT, “Standard Guide for Using Pyrolysis Gas Chromatography and Pyrolysis Gas Chromatography-Mass Spectrometry in Forensic Paint Examinations”.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.4 | Section Title | Practical Exercise:
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.4.1 | Requirement | Classify and compare binders and plasticizers found in automotive, architectural, and other types of paint using PGC or PGC/MS.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Pyrolysis Gas Chromatography/Mass Spectrometry (PGC and PGC/MS) | 6.14.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15 | Section Title
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paints based on their elemental components using SEM/EDS.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2 | Requirement | Include the following points of instruction:
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.1 | Requirement | Understanding the theory of SEM/EDS (unless previously authorized to use the instrument)
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.2 | Requirement | Preparing samples for analysis by SEM/EDS.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.3 | Requirement | Knowing the types of SEM detectors and understanding when each detector can be used.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.4 | Requirement | Performing computer searches of spectral libraries, if available.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.5 | Requirement | Demonstrating the ability to use the technique to compare samples based upon their elemental components.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.2.6 | Requirement | Understanding the strengths and limitations of the technique.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.3 | Recommendation | Reading Assignments:
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.3.1 | Recommendation | Guide E2809.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.3.2 | Recommendation | Goldstein, et al., Scanning Electron Microscopy and X-ray Microanalysis.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.3.3 | Recommendation | Flegler, et al., Scanning and Transmission Electron Microscopy: An Introduction.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.4 | Section Title | Practical Exercise:
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.4.1 | Requirement | Compare the elemental components in a variety of paint samples using SEM/EDS.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Scanning Electron Microscopy/Energy Dispersive X-ray Spectroscopy (SEM/EDS) | 6.15.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
X-ray Fluorescence Spectroscopy (XRF) | 6.16 | Section Title
X-ray Fluorescence Spectroscopy (XRF) | 6.16.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paints based on the elemental components using XRF.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2 | Requirement | Include the following points of instruction:
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2.1 | Requirement | Understanding the theory of XRF (unless previously authorized to use the instrument)
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2.2 | Requirement | Preparing samples for analysis by XRF.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2.3 | Requirement | Performing computer searches of spectral libraries, if available.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2.4 | Requirement | Demonstrating the ability to use the technique to compare samples based upon their elemental components.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.2.5 | Requirement | Understanding the strengths and limitations of the technique.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.3 | Recommendation | Reading Assignments:
X-ray Fluorescence Spectroscopy (XRF) | 6.16.3.1 | Recommendation | Guide D5381.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.3.2 | Recommendation | Test Method D4764.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.3.3 | Recommendation | Buhrke, et al., eds., A Practical Guide for the Preparation of Specimens for X-ray Fluorescence and X-ray Diffraction Analysis.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.3.4 | Recommendation | Massonnet, “Comparison of X-ray Fluorescence and X-ray Diffraction Techniques for the Analysis of Metallic Automotive Paints”.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.4 | Section Title | Practical Exercise:
X-ray Fluorescence Spectroscopy (XRF) | 6.16.4.1 | Requirement | Compare the elemental characteristics in a variety of paints using XRF.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
X-ray Fluorescence Spectroscopy (XRF) | 6.16.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
X-ray Diffraction (XRD) | 6.17 | Section Title
X-ray Diffraction (XRD) | 6.17.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paints based on the diffraction pattern using XRD.
X-ray Diffraction (XRD) | 6.17.2 | Requirement | Include the following points of instruction:
X-ray Diffraction (XRD) | 6.17.2.1 | Requirement | Understanding the theory of XRD (unless previously authorized to use the instrument)
X-ray Diffraction (XRD) | 6.17.2.2 | Requirement | Preparing samples for analysis by XRD.
X-ray Diffraction (XRD) | 6.17.2.3 | Requirement | Performing computer searches of diffractograms, if available.
X-ray Diffraction (XRD) | 6.17.2.4 | Requirement | Demonstrating the ability to use the technique to compare samples based upon their diffraction patterns.
X-ray Diffraction (XRD) | 6.17.2.5 | Requirement | Understanding the strengths and limitations of the technique.
X-ray Diffraction (XRD) | 6.17.3 | Recommendation | Reading Assignments:
X-ray Diffraction (XRD) | 6.17.3.1 | Recommendation | Test Method D5380.
X-ray Diffraction (XRD) | 6.17.3.2 | Recommendation | Buhrke, et al., eds., A Practical Guide for the Preparation of Specimens for X-ray Fluorescence and X-ray Diffraction Analysis.
X-ray Diffraction (XRD) | 6.17.3.3 | Recommendation | Curry, et al., “Pigment Analysis in the Forensic Examination of Paints. I. Pigment Analysis by X-ray Powder Diffraction”.
X-ray Diffraction (XRD) | 6.17.4 | Section Title | Practical Exercise:
X-ray Diffraction (XRD) | 6.17.4.1 | Requirement | Compare the diffraction pattern in a variety of paints using XRD.
X-ray Diffraction (XRD) | 6.17.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
X-ray Diffraction (XRD) | 6.17.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Microspectrophotometry (MSP) | 6.18 | Section Title
Microspectrophotometry (MSP) | 6.18.1 | Informational Text | This section introduces the trainee to the comparison of paint samples using MSP.
Microspectrophotometry (MSP) | 6.18.2 | Requirement | Include the following points of instruction:
Microspectrophotometry (MSP) | 6.18.2.1 | Requirement | Understanding the theory of MSP (unless previously authorized to use the instrument)
Microspectrophotometry (MSP) | 6.18.2.2 | Requirement | Preparing samples for analysis by MSP.
Microspectrophotometry (MSP) | 6.18.2.3 | Requirement | Demonstrating the ability to use the technique to compare spectra.
Microspectrophotometry (MSP) | 6.18.2.4 | Requirement | Understanding the strengths and limitations of the technique.
Microspectrophotometry (MSP) | 6.18.3 | Recommendation | Reading Assignments:
Microspectrophotometry (MSP) | 6.18.3.1 | Recommendation | Guide E2808.
Microspectrophotometry (MSP) | 6.18.3.2 | Recommendation | Cousins, et al., “The Variation in the Colour of Paint on Individual Vehicles”.
Microspectrophotometry (MSP) | 6.18.3.3 | Recommendation | Eyring, “Visible Microscopical Spectrophotometry in the Forensic Sciences”.
Microspectrophotometry (MSP) | 6.18.3.4 | Recommendation | Kopchick and Bommarito, “Color Analysis of Apparently Achromatic Automotive Paints by Visible Microspectrophotometry”.
Microspectrophotometry (MSP) | 6.18.3.5 | Recommendation | Laing, et al., “The Discrimination of Small Fragments of Household Gloss Paint by Microspectrophotometry”.
Microspectrophotometry (MSP) | 6.18.3.6 | Recommendation | Laing, et al., “Colorimetric Measurements on Small Paint Fragments Using Microspectrophotometry”.
Microspectrophotometry (MSP) | 6.18.3.7 | Recommendation | Nowicki and Paten, “Examination of U.S. Automotive Paints: 1. Make and Model Determination of Hit-and-Run Vehicles by Reflectance Microspectrophotometry”.
Microspectrophotometry (MSP) | 6.18.3.8 | Recommendation | Stoecklein, “The Role of Colour and Microscopic Techniques for the Characterization of Paint Fragments”.
Microspectrophotometry (MSP) | 6.18.3.9 | Recommendation | Stoecklein and Fujiwara, “The Examination of UV-Absorbers in 2-coat Metallic and Non-metallic Automotive Paints”.
Microspectrophotometry (MSP) | 6.18.3.10 | Recommendation | Stone, et al., “Measurement and Variation of UV Absorbers within Multi-Year Samples of Automotive Clear Coat Paint”.
Microspectrophotometry (MSP) | 6.18.4 | Section Title | Practical Exercise:
Microspectrophotometry (MSP) | 6.18.4.1 | Requirement | Compare the spectra from a variety of paint samples using MSP.
Microspectrophotometry (MSP) | 6.18.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Microspectrophotometry (MSP) | 6.18.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Comparison and Discrimination of Paint | 6.19 | Section Title
Comparison and Discrimination of Paint | 6.19.1 | Informational Text | This section introduces the trainee to the comparison of a variety of paints based on their physical and chemical characteristics.
Comparison and Discrimination of Paint | 6.19.2 | Requirement | Include the following points of instruction:
Comparison and Discrimination of Paint | 6.19.2.1 | Requirement | Assessing the comparison results and attaching significance to those results.
Comparison and Discrimination of Paint | 6.19.2.2 | Requirement | Defining and recognizing meaningful differences.
Comparison and Discrimination of Paint | 6.19.2.3 | Requirement | Explaining the discrimination power of the analytical protocol used.
Comparison and Discrimination of Paint | 6.19.3 | Recommendation | Reading Assignments:
Comparison and Discrimination of Paint | 6.19.3.1 | Recommendation | Beveridge, et al., “Use of Infrared Spectroscopy for the Characterization of Paint Fragments”.
Comparison and Discrimination of Paint | 6.19.3.2 | Recommendation | Buzzini, et al., “Survey of Crowbar and Household Paints in Burglary Cases – Population Studies, Transfer and Interpretation”.
Comparison and Discrimination of Paint | 6.19.3.3 | Recommendation | Dabdoub and Severin, “The Identification of Domestic and Foreign Automobile Manufacturers through Body Primer Characterization”.
Comparison and Discrimination of Paint | 6.19.3.4 | Recommendation | Dolak and Weimer, “The Physical and Chemical Characterization of Multipurpose Architectural Paint”.
Comparison and Discrimination of Paint | 6.19.3.5 | Recommendation | Edmondstone, et al., “An Assessment of the Evidential Value of Automotive Paint Comparisons”.
Comparison and Discrimination of Paint | 6.19.3.6 | Recommendation | Gothard, “Evaluation of Automobile Paint Flakes as Evidence”.
Comparison and Discrimination of Paint | 6.19.3.7 | Recommendation | Lau, et al., “The Frequency of Occurrence of Paint and Glass on the Clothing of High School Students”.
Comparison and Discrimination of Paint | 6.19.3.8 | Recommendation | McDermott and Willis, “A Survey of the Evidential Value of Paint Transfer Evidence”.
Comparison and Discrimination of Paint | 6.19.3.9 | Recommendation | McDermott and Willis, “The Evidential Value of Paint. Part II: A Bayesian Approach”.
Comparison and Discrimination of Paint | 6.19.3.10 | Recommendation | Robertson, et al., Interpreting Evidence: Evaluating Forensic Science in the Courtroom.
Comparison and Discrimination of Paint | 6.19.3.11 | Recommendation | Ryland, “Discrimination of Retail Black Spray Paints”.
Comparison and Discrimination of Paint | 6.19.3.12 | Recommendation | Ryland and Kopec, “The Evidential Value of Automobile Paint Chips”.
Comparison and Discrimination of Paint | 6.19.3.13 | Recommendation | Sandercock, et al., “Survey of New, Single Layer Architectural Paints”.
Comparison and Discrimination of Paint | 6.19.3.14 | Recommendation | SWGMAT, Forensic Paint Analysis and Comparison Guidelines.
Comparison and Discrimination of Paint | 6.19.3.15 | Recommendation | Tippett, et al., “The Evidential Value of the Comparison of Paint Flakes from Sources Other than Vehicles”.
Comparison and Discrimination of Paint | 6.19.3.16 | Recommendation | Willis, et al., “The Interpretation of Paint Evidence”.
Comparison and Discrimination of Paint | 6.19.3.17 | Recommendation | Wright, et al., “Analysis and Discrimination of Architectural Paint Samples via a Population Study”.
Comparison and Discrimination of Paint | 6.19.3.18 | Recommendation | Wright, et al., “Analysis and Discrimination of Single-Layer White Architectural Paint Samples”.
Comparison and Discrimination of Paint | 6.19.3.19 | Recommendation | Wright and Mehltretter, “The Prevalence of Original Equipment Manufacturer Factory Repairs in Automotive Paint Samples”.
Comparison and Discrimination of Paint | 6.19.4 | Section Title | Practical Exercise:
Comparison and Discrimination of Paint | 6.19.4.1 | Requirement | Complete comparisons and summarize the completed practical exercise sets utilized in previous instruction.
Comparison and Discrimination of Paint | 6.19.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Comparison and Discrimination of Paint | 6.19.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Motor Vehicle Make, Model and Year Determinations | 6.2 | Section Title
Motor Vehicle Make, Model and Year Determinations | 6.20.1 | Informational Text | This section introduces the trainee to the methods used to produce possible make, model, and year determinations for vehicle paint samples.
Motor Vehicle Make, Model and Year Determinations | 6.20.2 | Requirement | Include the following point of instruction:
Motor Vehicle Make, Model and Year Determinations | 6.20.2.1 | Requirement | Utilizing available resources (for example, Paint Database Query, spectral IR libraries, Collaborative Testing Services Paint Collection, automotive refinish books and websites) to suggest potential source make(s), model(s), and year(s).
Motor Vehicle Make, Model and Year Determinations | 6.20.3 | Recommendation | Reading Assignments:
Motor Vehicle Make, Model and Year Determinations | 6.20.3.1 | Recommendation | Buckle, et al., “PDQ – Paint Data Queries: The History and Technology Behind the Development of the Royal Canadian Mounted Police Forensic Laboratory Services Automotive Paint Database”.
Motor Vehicle Make, Model and Year Determinations | 6.20.3.2 | Recommendation | Hodgins, et al., “Identification of Modern Automotive Paint Systems using Paint Data Query: A Collaborative Study”.
Motor Vehicle Make, Model and Year Determinations | 6.20.3.3 | Recommendation | Wright, “A Make-Model-Year Case Involving Unusual Primer Chemistry and Good Resources”.
Motor Vehicle Make, Model and Year Determinations | 6.20.3.4 | Recommendation | Wright, “Sourcing Paint Smears: A Hate Crime Highlights the Utility of the Paint Data Query Database”.
Motor Vehicle Make, Model and Year Determinations | 6.20.4 | Section Title | Practical Exercise:
Motor Vehicle Make, Model and Year Determinations | 6.20.4.1 | Requirement | Demonstrate the ability to utilize available resources (for example, Paint Database Query, spectral IR libraries, Collaborative Testing Services Paint Collection, automotive refinish books and websites) to suggest potential source vehicle(s).
Motor Vehicle Make, Model and Year Determinations | 6.20.5 | Informational Text | The methods of instruction for this unit are reading by the trainee and lecture from the trainer.
Motor Vehicle Make, Model and Year Determinations | 6.20.6 | Informational Text | The method of evaluation for this unit is a review of the practical exercise.
Report Writing | 6.21 | Section Title
Report Writing | 6.21.1 | Informational Text | This section introduces the trainee to writing technically and administratively accurate reports for forensic paint examinations.
Report Writing | 6.21.2 | Recommendation | Reading Assignments:
Report Writing | 6.21.2.1 | Recommendation | Laboratory specific paint analysis procedure(s) on reporting.
Report Writing | 6.21.3 | Informational Text | Practical Exercise:
Report Writing | 6.21.3.1 | Requirement | Write reports for the previously completed practical exercises.
Report Writing | 6.21.4 | Informational Text | The methods of instruction for this unit are reading completed technically reviewed reports and lecture from the trainer.
Report Writing | 6.21.5 | Informational Text | The method of evaluation for this unit is a review of the reports written by the trainee.
Testimony | 6.22 | Section Title
Testimony | 6.22.1 | Informational Text | This section introduces the trainee to testimony in forensic paint analysis.
Testimony | 6.22.2 | Recommendation | Reading Assignments:
Testimony | 6.22.2.1 | Recommendation | SWGMAT, “Paint Daubert Final – Main Text”.
Testimony | 6.22.2.2 | Recommendation | Daubert v. Merrell Dow Pharmaceuticals (92-102), 509 U.S. 579 (1993).
Testimony | 6.22.2.3 | Recommendation | Frye v. United States 293 F. 1013 (D.C. Cir. 1923).
Testimony | 6.22.2.4 | Recommendation | Kumho Tire Co. v. Carmichael 526 U.S. 137 (1999).
Testimony | 6.22.2.5 | Recommendation | Melendez-Diaz v. Massachusetts 557 U.S. 305 (2009).
Testimony | 6.22.2.6 | Recommendation | Bullcoming v. New Mexico 564 U.S. 647 (2011).
Testimony | 6.22.3 | Section Title | Practical Exercise:
Testimony | 6.22.3.1 | Requirement | Prepare a list of suggested questions and a sheet of educational questions and answers for the court.
Testimony | 6.22.3.2 | Requirement | Review relevant materials for an admissibility hearing.
Testimony | 6.22.4 | Informational Text | The methods of instruction for this unit are lecture from the trainer and viewing court testimony (if possible).
Testimony | 6.22.5 | Informational Text | The method of evaluation for this unit is a review of the court documents prepared by the trainee
Final Training Evaluations | 6.23 | Section Title
Final Training Evaluations | 6.23.1 | Informational Text | This section evaluates the knowledge, skills and abilities of the trainee through the following methods:
Final Training Evaluations | 6.23.1.1 | Informational Text | Completing a final, comprehensive, written or oral examination on forensic paint examinations.
Final Training Evaluations | 6.23.1.2 | Informational Text | Conducting mock case(s) for competency evaluation.
Final Training Evaluations | 6.23.1.3 | Informational Text | Participating in a mock trial using one of the mock cases completed during training. If the trainee has previous mock trial or court experience, an oral review may replace the mock trial.
Final Training Evaluations | 6.23.2 | Informational Text | The method of evaluation for this unit is a passing grade on the written examination, successful completion of the competency evaluation, and successful completion of the mock trial or oral review.
Supervised Casework and Peer Reviews | 6.24 | Section Title
Supervised Casework and Peer Reviews | 6.24.1 | Informational Text | This section introduces the trainee to performing independent casework as well as technical and administrative peer reviews.
Supervised Casework and Peer Reviews | 6.24.2 | Section Title | Practical Exercise:
Supervised Casework and Peer Reviews | 6.24.2.1 | Requirement | Observe an experienced paint examiner perform casework.
Supervised Casework and Peer Reviews | 6.24.2.2 | Requirement | Perform actual casework under the supervision of a qualified paint examiner before performing independent casework.
Supervised Casework and Peer Reviews | 6.24.2.3 | Requirement | Complete mock technical and administrative review exercises.
Supervised Casework and Peer Reviews | 6.24.3 | Informational Text | The methods of instruction for this unit are demonstration by the trainer and discussion with the trainee
Supervised Casework and Peer Reviews | 6.24.4 | Informational Text | The methods of evaluation for this unit are evaluation of the casework with no technical errors and minimal administrative errors and evaluation of the peer reviews completed by the trainee.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics